## Client Information
Subrecipient Information
Subrecipient Name |  |  | Subrecipient Address
Client Information
Head of Houeshold | Client Contact Number |  | Unit Address |  | County
Number of Occupants | Number of Disabled |  | Number of Elderly |  | Number of Children Under 5
High Energy User > $1,000.00 Annually |  | High Energy Burden >11% of Gross Annual Income |  | Weatherized in the Past 15 Years?
Building Information
Building Type | Primary Heating Fuel |  | Conditioned Stories | Infiltration Height (ft) |  | Square Footage
Owner or Rental | Number of Bedrooms |  | Number of Bathrooms |  | Wind Shielding
Assessment Information
Application Approval Date | Assessment Date |  | Audit Date |  | Contractor Start Date
Initial Assessor(s) |  | Energy Auditor(s) |  | Final Inspector(s)
Additional Notes (Directions, Landmarks, Client Availability, Etc.)

## Drawing
Audit # | [16 empty] | Window Sq Ft for insulation
[17 empty] | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
[16 empty] | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Wall Legend |  | Door Legend | [11 empty] | 16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Sq. Ft. | [10 empty] | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | FOR ACTUAL SCREEN MEASUREMENTS THAT ARE DIFFERENT THAN WINDOW MEASUREMENT | [5 empty] | Volume Calculator |  |  |  |  | Window Sq Ft for insulation A: Door Sq Ft for Insulation
|  | Window Legend | Mechanical Legends | [8 empty] | Length | Width | Height | Volume |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
[7 empty] | Shaded | # | Width | Height | Burglar Bars |  |  |  | 0 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 1 | [6 empty] | 0 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 2 | [6 empty] | 0 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 3 | [6 empty] | 0 | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 4 | [6 empty] | 0 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 5 | [6 empty] | 0 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 6 | [6 empty] | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | BR Legend | [5 empty] | 7 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 8 | [6 empty] | 0 |  | Door Sq Ft for Insulation A: Wall Sq Ft for Insulation |  |  | FALSE |  | FALSE
|  |  |  | Misc. |  |  |  | 9 | [6 empty] | 0 |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P |  |  | FALSE |  | FALSE
[8 empty] | 10 | [6 empty] | 0 | Wall | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 11 | [6 empty] | 0 | Windows | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 12 | [6 empty] | 0 | Doors | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 13 | [6 empty] | 0 | Total Insul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | FALSE |  | FALSE
[8 empty] | 14 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 15 | [6 empty] | 0 |  | Wall Sq Ft for Insulation A: 0; Wall Sq Ft for Insulation B: Total Wall Insulation |  |  | FALSE |  | FALSE
[8 empty] | 16 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 17 | [6 empty] | 0 | D1 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF! |  |  | FALSE |  | FALSE
[8 empty] | 18 | [6 empty] | 0 | D2 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 19 | [6 empty] | 0 | D3 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 20 | [6 empty] | 0 | D4 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 21 | [6 empty] | 0 | D5 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[17 empty] | Wall Sq Ft for Insulation H: 1,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 12, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | Wall Sq Ft for Insulation H: 2,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 13, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Assessor | Date | [15 empty] | Wall Sq Ft for Insulation H: 3,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 14, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | Averaged Wall Height | Wall Sq Ft for Insulation H: 4,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 15, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 5, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 16, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 6, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 17, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 7, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 18, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 8, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 9, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 20, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 10, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 21, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 11, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!; Wall Sq Ft for Insulation C: #REF!; Wall Sq Ft for Insulation J: EA.; Wall Sq Ft for Insulation N: #REF!
[16 empty] | 1 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: 1; Wall Sq Ft for Insulation C: #REF!; Wall Sq Ft for Insulation I: TRUE; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: TRUE; Wall Sq Ft for Insulation L: FALSE; Wall Sq Ft for Insulation M: FALSE
[16 empty] | Avg Height | Wall Sq Ft for Insulation A: #REF!
N1 - (34')
Garage
Covered Porch
D1 36" x 80"
(1) 24" x 36"
BR1
Attic Access
Furnace
HWH
AC
N
E
W
S

## Drawing Example- MH
Audit # | [16 empty] | Window Sq Ft for insulation
[17 empty] | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
[16 empty] | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Wall Legend |  | Door Legend | [11 empty] | 16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Sq. Ft. | [10 empty] | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | FOR ACTUAL SCREEN MEASUREMENTS THAT ARE DIFFERENT THAN WINDOW MEASUREMENT | [5 empty] | Volume Calculator |  |  |  |  | Window Sq Ft for insulation A: Door Sq Ft for Insulation
|  | Window Legend | Mechanical Legends | [8 empty] | Length | Width | Height | Volume |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
[7 empty] | Shaded | # | Width | Height | Burglar Bars |  |  |  | 0 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 1 | [6 empty] | 0 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 2 | [6 empty] | 0 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 3 | [6 empty] | 0 | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 4 | [6 empty] | 0 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 5 | [6 empty] | 0 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 6 | [6 empty] | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | BR Legend | [5 empty] | 7 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 8 | [6 empty] | 0 |  | Door Sq Ft for Insulation A: Wall Sq Ft for Insulation |  |  | FALSE |  | FALSE
|  |  |  | Misc. |  |  |  | 9 | [6 empty] | 0 |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P |  |  | FALSE |  | FALSE
[8 empty] | 10 | [6 empty] | 0 | Wall | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 11 | [6 empty] | 0 | Windows | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 12 | [6 empty] | 0 | Doors | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 13 | [6 empty] | 0 | Total Insul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | FALSE |  | FALSE
[8 empty] | 14 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 15 | [6 empty] | 0 |  | Wall Sq Ft for Insulation A: 0; Wall Sq Ft for Insulation B: Total Wall Insulation |  |  | FALSE |  | FALSE
[8 empty] | 16 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 17 | [6 empty] | 0 | D1 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF! |  |  | FALSE |  | FALSE
[8 empty] | 18 | [6 empty] | 0 | D2 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 19 | [6 empty] | 0 | D3 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 20 | [6 empty] | 0 | D4 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 21 | [6 empty] | 0 | D5 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[17 empty] | Wall Sq Ft for Insulation H: 1,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 12, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | Wall Sq Ft for Insulation H: 2,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 13, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Assessor | Date | [15 empty] | Wall Sq Ft for Insulation H: 3,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 14, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | Averaged Wall Height | Wall Sq Ft for Insulation H: 4,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 15, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 5, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 16, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 6, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 17, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 7, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 18, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 8, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 9, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 20, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 10, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 21, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 11, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!; Wall Sq Ft for Insulation C: #REF!; Wall Sq Ft for Insulation J: EA.; Wall Sq Ft for Insulation N: #REF!
[16 empty] | 1 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: 1; Wall Sq Ft for Insulation C: #REF!; Wall Sq Ft for Insulation I: TRUE; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: TRUE; Wall Sq Ft for Insulation L: FALSE; Wall Sq Ft for Insulation M: FALSE
[16 empty] | Avg Height | Wall Sq Ft for Insulation A: #REF!
N1 - (14')- Vinyl Siding
Covered Carport
Covered Porch
D1 36" x 80"
(1) 24" x 36"
BR1
Attic Access
Furnace- Hallway
HWH- Closet- Outside
AC
N
E
W
S
S3 - (14') - Vinyl Siding
N1 - (14')
E1 - (66') - Vinyl Siding
W4 - (66') - Vinyl Siding
924 Sq. Ft.
(1) 30" x 36"
(2) 30" x 36"
(3) 30" x 36"
(4) 30" x 36"
(5) 14" x 21"
(6) 30" x 36"
(7) 30" x 36"
D1 36" x 80"
D2 32" x 72"
Pitched Roof - 100% Cathedral Ceiling. 8' side wall 10' peak. 3:12 Pitch 6" FB Batt Existing. 8" Insulation to Add to Center
Furnace
AC
24" Clearance - 2" x 6" Joists. Square Belly. Depth of Insulation- 6" FG-Batt. - Skirt Present
BR1
M. Bath
BR3
BR2
LR
Kit
Bath
HWH
Covered Carport
(1) Exhaust Fan in Bath w/ operable window (1) Exhaust Fan In Bath w/ operable window
(1) Exhaust Fan In Kitchen w/ operable window. 3 Bedrooms/ 2 Occupants

## Walls
Building Information
Occupants | Length (ft) |  | Width (ft) |  | Exterior Wall Height (ft) |  | Infilration Height (ft) |  | # of Bedrooms | Wind Shielding | Outdoor Water Heater Closet
Wall Information - MHEA
Wall Stud Size |  | Orientation of Long Wall |  |  | Wall Ventilation |  |  | Uninsulateable Wall Area (sq ft) |  |  | Additional Cost
Existing Insulation - MHEA
Batt/Blanket (in) |  |  |  | Loose Fill (in) |  |  |  |  | Foam Core (in)
Carport/Porch Roof
Carport/Porch Present |  |  | Length (ft) |  |  | Width (ft) |  |  | Orientation
Wall Information - MHEA - Addition
Wall Stud Size |  | Addition Orientation |  |  | Wall Ventilation |  |  | Additional Cost
Existing Insulation - MHEA- Addition
Batt/Blanket (in) |  |  |  | Loose Fill (in) |  |  |  |  | Foam Core (in)
Configuration Information - MHEA- Addition
Wall Configuration |  |  |  | Maximum Wall Height (ft) |  |  | Minimum Wall Height (ft) |  |  | Wall Configuration Notes •Maximum Wall Height at Interior Wall Select this option if the roof of the addition slopes downward from the shared wall of the mobile home to the addititons exterior wall. •Maximum Wall Height at Center of Addition Select this option if the roof of the addition has a peak in the center and slopes down toward both exterior walls, running perpendicular to the mobile home. •All Addition Walls the Same Height Select if the addition has a flat roof
Wall Information - TAC
Wall Orientation |  | Wall Type |  |  | Wall Condition |  |  | Existing R-Value
Wall Orientation |  | Wall Type |  |  | Wall Condition |  |  | Existing R-Value
Wall Orientation |  | Wall Type |  |  | Wall Condition |  |  | Existing R-Value
Wall Orientation |  | Wall Type |  |  | Wall Condition |  |  | Existing R-Value
Wall Orientation |  | Wall Type |  |  | Wall Condition |  |  | Existing R-Value
Additional Wall Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Windows
Mobile Home Windows (window code shall be the window # only Ex. 1,2,3)
Existing Window Information | [7 empty] | Overhang/Awning
Window Code | Window Type | Frame Type | Glazing Type | Storm Window | Interior Shading | Exterior Shading | Install Solar Screen | Horizontal Projection (in) | Distance from Lintel (in) | Leakiness | Window Width (in) | Window Height (in) | Window Direction | Condition | Retrofit Options | Additional Cost ($)
Existing Window Information - Addition | [7 empty] | Overhang/Awning
Window Code | Window Type | Frame Type | Glazing Type | Storm Window | Interior Shading | Exterior Shading | Install Solar Screen | Horizontal Projection (in) | Distance from Lintel (in) | Leakiness | Window Width (in) | Window Height (in) | Window Direction | Condition | Retrofit Options | Additional Cost ($)
Additional Window Notes Note: Anything specific to ECM's and NEAT Audit Inputs
*If windows are deteriorated beyond repair picture will be needed to submitted with assessment*

## Doors
Mobile Home Doors (door code shall be alphabetical ex. A,B,C, etc.)
Existing Door Information
Door Code | Door Type | Width (in) | Height (in) | Area (sq. ft.) | Condition | Storm Door Condition | Leakiness | Door Direction | Replacement Door Required | Include in SIR | Additional Cost ($/door)
0
0
0
0
0
0
0
Existing Door Information - Addition
Door Code | Door Type | Width (in) | Height (in) | Area (sq. ft.) | Condition | Storm Door Condition | Leakiness | Door Direction | Replacement Door Required | Include in SIR | Additional Cost ($/door)
0
0
0
0
0
0
0
Leakiness Guide
Tight: Selection should be based off Tight-fitting doors that are structrually sound and have fully functional Weatherstriping and likely would not benefit from A.I. Efforts. |  |  |  |  | Medium: Selection should be based off a door that is structurally stable but may have minor alignment issues, small gaps, or weatherstripping that is present but not fully effective, allowing some air leakage. Would more than likely benefit from A.I. efforts. |  |  |  | Loose: Selection should be based off ill-fitted and has structrual problems, noticeable leakage sites, and no or non-functional weatherstripping. Will benefit from air sealing efforts or possible repair/replacement.
Additional Door Notes - Anything specific to ECM's and NEAT Audit Inputs

## Attics
Mobile Home Ceiling
Existing Attic Information- Ceiling
Roof Type | Roof Color |  | Joist Size (Flat Roof Only) | Height of Roof at Center (in)- Bowstring Only | Insulation to Add to Center (in)- Pitched Only | Existing Insulation Type | Existing Insulation (in) | Existing R-Value | Condition | Catherdal Ceiling (%) | Step Wall Orientation (Flat/Pitched Only) | Add Ventilation? | Additional Cost(s)
Mobile Home Addition
Existing Attic Information- Finished Attic
Joist Size |  | Roof Color |  | Existing Insulation Type | Existing Insulation (in) | Existing R-Value | Condition |  | Add Ventilation? | Additional Cost(s)
Additional Attic Notes Note: Anything specific to ECM's and NEAT Audit Inputs

## Foundation
Mobile Home Floor
Floor Information
Floor Joist Direction |  |  |  | Skirt Present |  |  | Condition of Floor
Wing Description
Floor Joist Size |  |  | Batt/Blanket Insulation Location |  |  |  | Batt/Blanket Insulation Thickness (in) |  |  | Loose Insulation Thickness (In)
Belly (Center) Description
Floor Joist Size | Belly Cavity Configuration |  | Condition of Belly |  | Max. Depth of Belly Cavity (in) |  | Batt/Blanket Insulation Location |  | Batt/Blanket Insulation Thickness (In) |  | Loose Insulation Thickness (in)
Floor Information - Addition
Floor Type |  | Length (ft) |  |  | Width (ft) |  |  | Floor Joist Size
Floor Information - Addition- Insulation
Batt/Blanket Insulation Location | Batt/Blanket Insulation Thickness (in) |  |  | Loose Insulation Thickness (in) |  | Depth Available for Added Insulation (in)
Additional Floor Notes - Anything specific to ECM's and NEAT Audit Inputs
GOOD
POOR
FAIR

## Heating (1)
Heating Codes (Choose a code that fits Agency Ex. Htr. 1, Htr. 2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Fuel Type |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Flow Configuration |  | CO Reading |  | Serial Number # |  |  | Model #
Heating Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  | Gas Leak Present |  | Heat Rise Test |  |  |  | Heat Rise Results
[7 empty] | Supply Temp. |  | Return Temp.
Input Units |  | Efficiency | Efficiency Measurement | Output Capacity | Output Capacity Measurement | Steady State Efficiency |  |  | Existing HSPF |  | Ton(s)
Equipment Features
Fraction of Load Served |  | Atmospheric Burner |  | Automatic Vent Damper |  | IID | Pilot Light |  | On in Summer |  | Heating Setback Used
Existing Flue Type |  | Existing Flue Condition |  |  | Combustion System Type |  |  | Flue Diameter (in) |  | Combustion Air Intake
Blower Motor Type |  | Blower Condition |  |  | Air Filter Location |  |  | Filter Condition |  | Filter Size (length x width, in.)
Retrofit Options to Evaluate
Thermostat Type |  |  | Daytime Thermostat Setting (F) |  |  |  | Nighttime Thermostat Setting (F) |  |  |  | Relocate Thermostat
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Heating: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Heating Notes- Note: anything specific to ECM's and NEAT Audit Inputs
If more than one Heating systems exists, right click in the Heating tab and "Unide" additional Heating Sections.

## Heating (2)
Heating Codes (Choose a code that fits Agency Ex. Htr. 1, Htr. 2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Fuel Type |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Flow Configuration |  | CO Reading |  | Serial Number # |  |  | Model #
Heating Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  | Gas Leak Present |  | Heat Rise Test |  |  |  | Heat Rise Results
[7 empty] | Supply Temp. |  | Return Temp.
Input Units |  | Efficiency | Efficiency Measurement | Output Capacity | Output Capacity Measurement | Steady State Efficiency |  |  | Existing HSPF |  | Ton(s)
Equipment Features
Fraction of Load Served |  | Atmospheric Burner |  | Automatic Vent Damper |  | IID | Pilot Light |  | On in Summer |  | Heating Setback Used
Existing Flue Type |  | Existing Flue Condition |  |  | Combustion System Type |  |  | Flue Diameter (in) |  | Combustion Air Intake
Blower Motor Type |  | Blower Condition |  |  | Air Filter Location |  |  | Filter Condition |  | Filter Size (length x width, in.)
Retrofit Options to Evaluate
Thermostat Type |  |  | Daytime Thermostat Setting (F) |  |  |  | Nighttime Thermostat Setting (F) |  |  |  | Relocate Thermostat
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Heating: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Heating Notes- Note: anything specific to ECM's and NEAT Audit Inputs

## Heating (3)
Heating Codes (Choose a code that fits Agency Ex. Htr. 1, Htr. 2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Fuel Type |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Flow Configuration |  | CO Reading |  | Serial Number # |  |  | Model #
Heating Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  | Gas Leak Present |  | Heat Rise Test |  |  |  | Heat Rise Results
[7 empty] | Supply Temp. |  | Return Temp.
Input Units |  | Efficiency | Efficiency Measurement | Output Capacity | Output Capacity Measurement | Steady State Efficiency |  |  | Existing HSPF |  | Ton(s)
Equipment Features
Fraction of Load Served |  | Atmospheric Burner |  | Automatic Vent Damper |  | IID | Pilot Light |  | On in Summer |  | Heating Setback Used
Existing Flue Type |  | Existing Flue Condition |  |  | Combustion System Type |  |  | Flue Diameter (in) |  | Combustion Air Intake
Blower Motor Type |  | Blower Condition |  |  | Air Filter Location |  |  | Filter Condition |  | Filter Size (length x width, in.)
Retrofit Options to Evaluate
Thermostat Type |  |  | Daytime Thermostat Setting (F) |  |  |  | Nighttime Thermostat Setting (F) |  |  |  | Relocate Thermostat
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Heating: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Heating Notes- Note: anything specific to ECM's and NEAT Audit Inputs

## Heating (4)
Heating Codes (Choose a code that fits Agency Ex. Htr. 1, Htr. 2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Fuel Type |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Flow Configuration |  | CO Reading |  | Serial Number # |  |  | Model #
Heating Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  | Gas Leak Present |  | Heat Rise Test |  |  |  | Heat Rise Results
[7 empty] | Supply Temp. |  | Return Temp.
Input Units |  | Efficiency | Efficiency Measurement | Output Capacity | Output Capacity Measurement | Steady State Efficiency |  |  | Existing HSPF |  | Ton(s)
Equipment Features
Fraction of Load Served |  | Atmospheric Burner |  | Automatic Vent Damper |  | IID | Pilot Light |  | On in Summer |  | Heating Setback Used
Existing Flue Type |  | Existing Flue Condition |  |  | Combustion System Type |  |  | Flue Diameter (in) |  | Combustion Air Intake
Blower Motor Type |  | Blower Condition |  |  | Air Filter Location |  |  | Filter Condition |  | Filter Size (length x width, in.)
Retrofit Options to Evaluate
Thermostat Type |  |  | Daytime Thermostat Setting (F) |  |  |  | Nighttime Thermostat Setting (F) |  |  |  | Relocate Thermostat
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Heating: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Heating Notes- Note: anything specific to ECM's and NEAT Audit Inputs

## Cooling (1)
Cooling Codes (Choose a code that fits Agency AC1, AC2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Condition |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Floor Area Cooled (Sq. Ft) |  |  |  | Serial Number # |  |  | Model #
Cooling Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  |  |  | Air Conditioner Coil Condition |  |  |  | Condenser Coil Condition
Amps (Actual Metering)- If applicable |  | Output Capacity |  | Output Type |  | Ton(s) |  |  | Existing SEER |  | Existing EER
Retrofit Options to Evaluate
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Cooling: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Cooling Notes- Note: Anything specific to ECM's and NEAT Audit Inputs
If more than one Cooling systems exists, right click in the Cooling tab and "Unide" additional Cooling Sections.

## Cooling (2)
Cooling Codes (Choose a code that fits Agency AC1, AC2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Condition |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Floor Area Cooled (Sq. Ft) |  |  |  | Serial Number # |  |  | Model #
Cooling Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  |  |  | Air Conditioner Coil Condition |  |  |  | Condenser Coil Condition
Amps (Actual Metering)- If applicable |  | Output Capacity |  | Output Type |  | Ton(s) |  |  | Existing SEER |  | Existing EER
Retrofit Options to Evaluate
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Cooling: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Cooling Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Cooling (3)
Cooling Codes (Choose a code that fits Agency AC1, AC2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Condition |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Floor Area Cooled (Sq. Ft) |  |  |  | Serial Number # |  |  | Model #
Cooling Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  |  |  | Air Conditioner Coil Condition |  |  |  | Condenser Coil Condition
Amps (Actual Metering)- If applicable |  | Output Capacity |  | Output Type |  | Ton(s) |  |  | Existing SEER |  | Existing EER
Retrofit Options to Evaluate
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Cooling: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Cooling Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Cooling (4)
Cooling Codes (Choose a code that fits Agency AC1, AC2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Condition |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Floor Area Cooled (Sq. Ft) |  |  |  | Serial Number # |  |  | Model #
Cooling Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  |  |  | Air Conditioner Coil Condition |  |  |  | Condenser Coil Condition
Amps (Actual Metering)- If applicable |  | Output Capacity |  | Output Type |  | Ton(s) |  |  | Existing SEER |  | Existing EER
Retrofit Options to Evaluate
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Cooling: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Cooling Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Duct System (1)
Duct System Codes (Enter the Duct System applicable to the Existing Equipment)
Existing Duct Systems
Duct System Code | Duct Type |  | HVAC Systems Served |  | Duct Location |  |  | Duct Insulation | Duct Insulation R-Value
Existing Register Evaluation |  | # of Supply Registers |  | # of Return Registers |  |  | Condition of Plenum Joints
Add Insulation
Measure Number |  |  | Added R-Value |  |  | Additional Cost ($)
Duct Dimensions If measurements are known enter information here. (Group if share same dimensions) | [8 empty] | Use Defaults (Check Box if Utilizing Defaults)
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in)
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in) | Surface Area (sq ft)- Return
60
Surface Area (sq ft)- Supply
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in)
324
Insulation R-Value (Default)
7
Additional Baseload Notes- Note: Anything specific to ECM's and NEAT Audit Inputs
If more than one Duct System exists, right click in the Duct System tab and "Unide" additional Duct Sytem Section.

## Duct System (2) (hidden)
Duct System Codes (Enter the Duct System applicable to the Existing Equipment)
Existing Duct Systems
Duct System Code | Duct Type |  | HVAC Systems Served |  | Duct Location |  |  | Duct Insulation | Duct Insulation R-Value
Existing Register Evaluation |  | # of Supply Registers |  | # of Return Registers |  |  | Condition of Plenum Joints
Add Insulation
Measure Number |  |  | Added R-Value |  |  | Additional Cost ($)
Duct Dimensions If measurements are known enter information here. (Group if share same dimensions) | [8 empty] | Use Defaults (Check Box if Utilizing Defaults)
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in)
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in) | Surface Area (sq ft)- Return
60
Surface Area (sq ft)- Supply
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in)
324
Insulation R-Value (Default)
7
Additional Baseload Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Ducts and Infiltration
Ducts and Infiltration
Whole House Blower Door Measurements | [5 empty] | Costs
Date Tests Conducted | Air Leakage Rate (CFM) - Before Weatherization |  | Building Pressure Differential (Pa) |  | Target Leakage Rate - After Weatherization | Infilration Reduction ($) |  |  | Duct Sealing ($)
Duct Blower Measurements
Evaluate Duct Sealing | Duct Leakage Method |  | Before Duct Sealing- Existing- Total (CFM) @25 (Pa) |  |  | Before Duct Sealing- Existing - Outside (CFM) @25 (Pa)
Duct Blower Measurements
*'Outside' readings are taken while the house to outdoor presure difference provided by a blower door is maintained at the same level as the duct to outdoor pressure difference created by the duct blower. Thus, the 'Duct Pressure' and the 'House Pressure With Respect To Outside' should be equal. |  |  | After Duct Sealing- Target or Actual- Total (CFM) @25 (Pa) |  |  | After Duct Sealing- Target or Actual- Outside(CFM) @25 (Pa)
Duct Operating Pressures
Before Duct Sealing |  |  | After Duct Sealing
Supply (Pa) |  |  | Supply (Pa)
Return (Pa) |  |  | Return (Pa)
Zone Pressure Diagnostics (ZPD's)
Location |  | Pressure (Pa) |  | Location |  | Pressure (Pa)
Location |  | Pressure (Pa) |  | Location |  | Pressure (Pa)
Location |  | Pressure (Pa) |  | Location |  | Pressure (Pa)
Air Infiltration/Duct System Notes (Area of Focus)
Air Infiltration Measure(s)- Location/Description
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
[7 empty] | Total ($) | 0
Duct Sealing Measure(s)- Location/Description
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
[7 empty] | Total ($) | 0

## Baseloads
Baseloads
Water Heating- Existing Equipment (#1)
Manufacturer |  | Model Number |  | Serial Number |  | Manufacture Year |  | Fuel Type
Equipment Type |  | Location |  | Condition of Water Heater |  |  | Rated Storage Capacity (gal)
Input Units | Rated Input |  | Output Rating | Energy Factor | Uniform Energy Factor |  | First-Hour Rating (gal) |  | Recovery Efficiency
Combustion Water Heating Testing Results (#1)
CO Reading at Initial Inspection |  | Draft Test Results |  | Spillage Test Results |  | HWH Temp at Initial Inspection |  |  | Note: Adjust Temp if >120 (F)
Existing Insulation Levels - Water Heating Equipment (#1)
Water Heater Wrap Present |  |  | Water Heater Pipe Insulation Present |  | Existing Tank R-Value |  | Existing Tank Thickness (in) |  | Existing Insulation Type
Water Heating- Existing Equipment (#2)
Manufacturer |  | Model Number |  | Serial Number |  | Manufacture Year |  | Fuel Type
Equipment Type |  | Location |  | Condition of Water Heater |  |  | Rated Storage Capacity (gal)
Input Units | Rated Input |  | Output Rating | Energy Factor | Uniform Energy Factor |  | First-Hour Rating (gal) |  | Recovery Efficiency
Combustion Water Heating Testing Results (#2)
CO Reading at Initial Inspection |  | Draft Test Results |  | HWH Testing Efficiency |  | HWH Temp at Initial Inspection |  |  | Note: Adjust Temp if >120 (F)
Existing Insulation Levels - Water Heating Equipment (#2)
Water Heater Wrap Present |  |  | Water Heater Pipe Insulation Present |  | Existing Tank R-Value |  | Existing Tank Thickness (in) |  | Existing Insulation Type
Low Flow Showerhead/Aerators
Existing Showerheads |  |  |  | Existing Aerators
Number of Showerheads Present | Flow Rate (gpm) |  | Shower Use (min/day) | Number of Aerators Present |  | Flow Rate (gpm) |  | Minutes each/per day
Number of Showerheads Present | Flow Rate (gpm) |  | Shower Use (min/day) | Number of Aerators Present |  | Flow Rate (gpm) |  | Minutes each/per day
Number of Showerheads Present | Flow Rate (gpm) |  | Shower Use (min/day) | Number of Aerators Present |  | Flow Rate (gpm) |  | Minutes each/per day
Refrigerators
Existing Equipment
Manufacturer |  |  | Model Number |  | Serial Number |  |  | Manufacture Date
Defrost Option |  | Location |  | Door Seal Condition | Metering Minutes |  | Meter Reading (kWh) |  | Size (cu ft)
Lighting (LED) 's
Lighting Code: 40 watt Eq. (9watt) |  | Type |  | Quantity | Usage (hr/day) |  | Location
Lighting Code: 60 watt Eq. (13watt) |  | Type |  | Quantity | Usage (hr/day) |  | Location
Lighting Code: 75 watt Eq. (19watt) |  | Type |  | Quantity | Usage (hr/day) |  | Location
Lighting Code: 100 watt Eq. (23watt) |  | Type |  | Quantity | Usage (hr/day) |  | Location
Additional Baseload Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Health & Safety
Health & Safety
Health and Safety Devices
Smoke Detector is Needed |  | Location |  |  | Quantity
Smoke Detector is Needed |  | Location |  |  | Quantity
Smoke Detector is Needed |  | Location |  |  | Quantity
All Existing Smoke Detectors are Operable
(Select Check Box, if Dwelling unit has operable smoke detectors in the correct locations)
Carbon Monoxide (CO) Monitor is Needed |  | Location |  |  | Quantity
Carbon Monoxide (CO) Monitor is Needed |  | Location |  |  | Quantity
All Existing CO Detectors are Operable
(Select Check Box, if Dwelling unit has operable CO Detectors in the correct locations)
CAZ Isolation Details
Combustion Appliance Location | Acceptable Combustion Air? |  | Build Combustion Closet for CAZ? |  | Combustion Air Vent Pipe Size Needed |  |  | Vent Pipe Considerations
[8 empty] | Total BTU Input | Recommended Duct Size (Round)
Combustion Safety Key Measurements to Consider | [7 empty] | Up to 50,000 BTU's | 6"
✅ Spillage Test – Check if combustion gases escape into the home instead of venting properly. | [7 empty] | 50,001-100,000 BTU's | 8"
✅ Draft Pressure Test – Measure draft pressure (Pa) to ensure proper exhaust flow. | [7 empty] | 100,001-200,000 BTU's | 10"
✅ CO (Carbon Monoxide) Testing – Measure CO levels in the flue and ambient air. | [7 empty] | ✅ Verify using NFPA 54, Table 9.3.1.2 (Combustion Air Sizing)
✅ Worst-Case Depressurization Test – Assess if exhaust fans or air pressure changes cause backdrafting. | [7 empty] | ✅ Consider room size (confined vs. unconfined space)
✅ Excessive Flame Rollout – Check for flames escaping from the burner area. | [7 empty] | ✅ Ensure duct length, restrictions, and louvers are accounted for
Cook Stove Details
Oven Fuel Type | Oven Measurement | Beyond Cleaning Repair? |  | Recommend Replacement? | Range Top Burner Measurements
[5 empty] | Center | RF | LF | RR | LR
Source Control & Moisture Prevention - (Use Checkboxes to Confirm Visual Inspection Completion)
Roof/Crawlspace/Windows & Doors/ Drainage System |  | Action Needed? |  | General Asbestos Inspection |  | Action Needed? |  | Wood Stove/Fireplace
Inspected Roof for Leaks, missing/damaged Shingles, Weak Spots, etc.) |  |  |  | Conducted Visial Inspection for materials suspected to contain Asbestos (e.g., Insulation, walls, pipes, roof, etc. |  |  |  | Wood Stove Present?
Evaluated Gutters for Clogging, disrepair, or improper slope | [7 empty] | Proper Floor Protection, and code compliace clearances to walls
Checked for Proper downspounts and extensions to direct water away from home |  |  |  | General Plumbing Inspection |  | Action Needed?
|  |  |  | Conducted Visual inspection for any exposed plumbing areas for active leaks. |  |  |  | Fireplace Passess Inspection
Verified presence & function of flashing around roof penetrations
Fireplace Condition
Looked for evidence of standing water. |  |  |  | General Electrical Inspection |  | Action Needed?
|  |  |  | Visual Inspection for Presence and condtion of Knob-and-Tube wiring |  |  |  | Fireplace Operational and In-use by HH.
Evaluated windows for condensation issues around windows/doors
Lead Paint Inspection
Checked for bulk water intrustion evidence around windows/doors |  |  |  | Verified proper grounding and bonding of electrical system. |  |  |  | Suspected Lead Paint Present?
Estimated H&S Measures
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Health & Safety Notes - Anything specific to ECM's and NEAT Audit Inputs

## Repairs
Repairs Measures to Consider
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Repair Notes- Anything specific to ECM's and NEAT Audit Inputs