## Client Information
Subrecipient Information
Subrecipient Name |  |  | Subrecipient Address
Client Information
Head of Houeshold | Client Contact Number |  | Unit Address |  | County
Number of Occupants | Number of Disabled |  | Number of Elderly |  | Number of Children Under 5
High Energy User > $1,000.00 Annually |  | High Energy Burden >11% of Gross Annual Income |  | Weatherized in the Past 15 Years?
Building Information
Building Type | Primary Heating Fuel |  | Conditioned Stories | Infiltration Height (ft) |  | Square Footage
Owner or Rental | Number of Bedrooms |  | Number of Bathrooms |  | Wind Shielding
Assessment Information
Application Approval Date | Assessment Date |  | Audit Date |  | Contractor Start Date
Initial Assessor(s) |  | Energy Auditor(s) |  | Final Inspector(s)
Additional Notes (Directions, Landmarks, Client Availability, Etc.)

## Drawing
Audit # | [16 empty] | Window Sq Ft for insulation
[17 empty] | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
[16 empty] | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Wall Legend |  | Door Legend | [11 empty] | 16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Sq. Ft. | [10 empty] | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | FOR ACTUAL SCREEN MEASUREMENTS THAT ARE DIFFERENT THAN WINDOW MEASUREMENT | [5 empty] | Volume Calculator |  |  |  |  | Window Sq Ft for insulation A: Door Sq Ft for Insulation
|  | Window Legend | Mechanical Legends | [8 empty] | Length | Width | Height | Volume |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
[7 empty] | Shaded | # | Width | Height | Burglar Bars |  |  |  | 0 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 1 | [6 empty] | 0 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 2 | [6 empty] | 0 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 3 | [6 empty] | 0 | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 4 | [6 empty] | 0 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 5 | [6 empty] | 0 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 6 | [6 empty] | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | BR Legend | [5 empty] | 7 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 8 | [6 empty] | 0 |  | Door Sq Ft for Insulation A: Wall Sq Ft for Insulation |  |  | FALSE |  | FALSE
|  |  |  | Misc. |  |  |  | 9 | [6 empty] | 0 |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P |  |  | FALSE |  | FALSE
[8 empty] | 10 | [6 empty] | 0 | Wall | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 11 | [6 empty] | 0 | Windows | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 12 | [6 empty] | 0 | Doors | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 13 | [6 empty] | 0 | Total Insul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | FALSE |  | FALSE
[8 empty] | 14 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 15 | [6 empty] | 0 |  | Wall Sq Ft for Insulation A: 0; Wall Sq Ft for Insulation B: Total Wall Insulation |  |  | FALSE |  | FALSE
[8 empty] | 16 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 17 | [6 empty] | 0 | D1 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF! |  |  | FALSE |  | FALSE
[8 empty] | 18 | [6 empty] | 0 | D2 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 19 | [6 empty] | 0 | D3 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 20 | [6 empty] | 0 | D4 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 21 | [6 empty] | 0 | D5 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[17 empty] | Wall Sq Ft for Insulation H: 1,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 12, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 0 | [15 empty] | Wall Sq Ft for Insulation H: 2,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 13, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Assessor | Date | [15 empty] | Wall Sq Ft for Insulation H: 3,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 14, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | Averaged Wall Height | Wall Sq Ft for Insulation H: 4,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 15, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 5, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 16, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 6, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 17, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 7, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 18, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 8, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 9, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 20, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 10, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 21, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 11, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!; Wall Sq Ft for Insulation C: #REF!; Wall Sq Ft for Insulation J: EA.; Wall Sq Ft for Insulation N: #REF!
[16 empty] | 1 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: 1; Wall Sq Ft for Insulation C: #REF!; Wall Sq Ft for Insulation I: TRUE; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: TRUE; Wall Sq Ft for Insulation L: FALSE; Wall Sq Ft for Insulation M: FALSE
[16 empty] | Avg Height | Wall Sq Ft for Insulation A: #REF!
N1 - (34')
Garage
Covered Porch
D1 36" x 80"
(1) 24" x 36"
BR1
Attic Access
Furnace
HWH
AC
N
E
W
S

## Drawing- Example
Audit # | 1234ABC | [15 empty] | Window Sq Ft for insulation
[17 empty] | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
[16 empty] | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 7 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 8 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 11 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 12 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 13 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 14 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 15 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Wall Legend |  | Door Legend | [11 empty] | 16 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 17 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 20 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[5 empty] | Sq. Ft. | [10 empty] | 21 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | 22 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[6 empty] | FOR ACTUAL SCREEN MEASUREMENTS THAT ARE DIFFERENT THAN WINDOW MEASUREMENT | [5 empty] | Volume Calculator |  |  |  |  | Window Sq Ft for insulation A: Door Sq Ft for Insulation
|  | Window Legend | Mechanical Legends | [8 empty] | Length | Witdth | Height | Volume |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P
[7 empty] | Shaded | # | Width | Height | Burglar Bars |  |  |  | 0 | 1 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 1 | [6 empty] | 0 | 2 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 2 | [6 empty] | 0 | 3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 3 | [6 empty] | 0 | 4 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 4 | [6 empty] | 0 | 5 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 5 | [6 empty] | 0 | 6 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | 6 | [6 empty] | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | BR Legend | [5 empty] | 7 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 8 | [6 empty] | 0 |  | Door Sq Ft for Insulation A: Wall Sq Ft for Insulation |  |  | FALSE |  | FALSE
[8 empty] | 9 | [6 empty] | 0 |  | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P |  |  | FALSE |  | FALSE
[8 empty] | 10 | [6 empty] | 0 | Wall | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
|  |  |  | Misc. |  |  |  | 11 | [6 empty] | 0 | Windows | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 12 | [6 empty] | 0 | Doors | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  | FALSE |  | FALSE
[8 empty] | 13 | [6 empty] | 0 | Total Insul | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | FALSE |  | FALSE
[8 empty] | 14 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 15 | [6 empty] | 0 |  | Wall Sq Ft for Insulation A: 0; Wall Sq Ft for Insulation B: Total Wall Insulation |  |  | FALSE |  | FALSE
[8 empty] | 16 | [6 empty] | 0 | [19 empty] | FALSE |  | FALSE
[8 empty] | 17 | [6 empty] | 0 | D1 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF! |  |  | FALSE |  | FALSE
[8 empty] | 18 | [6 empty] | 0 | D2 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 19 | [6 empty] | 0 | D3 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 20 | [6 empty] | 0 | D4 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 21 | [6 empty] | 0 | D5 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[8 empty] | 22 |  |  |  |  | Total Volume |  | 0 | D6 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!
[17 empty] | Wall Sq Ft for Insulation H: 1,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 12, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | Averaged Wall Height | Wall Sq Ft for Insulation H: 4,; Wall Sq Ft for Insulation I: #REF!; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: #REF!; Wall Sq Ft for Insulation L: #REF!; Wall Sq Ft for Insulation M: #REF!; Wall Sq Ft for Insulation N: #REF!; Wall Sq Ft for Insulation O: #REF!; Wall Sq Ft for Insulation P: #REF! | 15, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 5, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 16, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 6, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 17, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 7, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 18, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 8, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 19, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 9, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 20, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 10, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 21, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 11, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 22, | #REF! | FALSE | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[16 empty] | #REF! | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: #REF!; Wall Sq Ft for Insulation C: #REF!; Wall Sq Ft for Insulation J: EA.; Wall Sq Ft for Insulation N: #REF!
[16 empty] | 1 | Wall Sq Ft for Insulation A: #REF!; Wall Sq Ft for Insulation B: 1; Wall Sq Ft for Insulation C: #REF!; Wall Sq Ft for Insulation I: TRUE; Wall Sq Ft for Insulation J: FALSE; Wall Sq Ft for Insulation K: TRUE; Wall Sq Ft for Insulation L: FALSE; Wall Sq Ft for Insulation M: FALSE
[16 empty] | Avg Height | Wall Sq Ft for Insulation A: #REF!
N1 - (34')
Garage
Covered Porch
D1 36" x 80"
(1) 24" x 36"
BR1
Attic Access
Furnace
HWH
AC
N
E
W
S
N1 - (28')- Wood Siding
E2 - (22') - Wood Siding
S3 - (28')- Wood Siding
W4 - (22')- Wood Siding
W(1) 24" x 36"
w(2) 36" x 36"
W(3) 36" x 52"
W(4) 36" x 36"
W(5) 24" x 36"
W(7) 24" x 36"
W(8) 24" x 36"
(9) 24" x 36"
W(6) 24" x 36"
D2 32" x 80"
D1 36" x 80"
616 Sq. Ft.
Attic Access- Hall- Cutout
Covered Porch
Furnace- Hall Closet
HWH- Hall Closet
Bath 1
Kitchen
Total Gross Walls= 800 Total Windows= 67
Total Doors= 37.7 Total Net Area= 695.30
AC
Wall Height- 8' ASHRAE Height- 8'
BR1
BR2
LR
Dining
(1) Exhaust Fan in Bath w/ operable window
(1) Recirculating Fan In Kitchen w/ operable window. 2 Bedrooms/ 2 Occupants

## Walls
Exterior/Interior Wall Info (Wall Code should be orientation plus wall number Example N1, E2, Etc.)
Wall Information
Wall # Code | Wall Type | Stud Size | Exterior Type | Exposure To | Orientation | Condition | Width (ft.) | Height (ft.) | Existing Insulation | Ext. R-Value | Added Insulation Type | Gross Area (sqft) | Additional Cost ($)
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Additional Wall Notes - Note: Anything specific to ECM's and NEAT Audit Inputs

## Windows
Windows (window code shall be the window # only Ex. 1,2,3)
Existing Window Information | [7 empty] | Overhang/Awning
Window Code | Window Type | Frame Type | Glazing Type | Storm Window | Interior Shading | Exterior Shading | Install Solar Screen | Horizontal Projection (in) | Distance from Lintel (in) | Leakiness | Window Width (in) | Window Height (in) | Wall Code | Number on This Wall | Condition | Retrofit Options | Additional Cost ($)
Additional Window Notes Note: Anything specific to ECM's and NEAT Audit Inputs
*If windows are deteriorated beyond repair picture will be needed to submitted with assessment*

## Doors
Doors (door code shall be alphabetical ex. A,B,C, etc.)
Existing Door Information
Door Code | Door Type | Width (in) | Height (in) | Area (sq. ft.) | Condition | Storm Door Condition | Leakiness | Wall Code | Replacement Door Required | Include in SIR | Additional Cost ($/door)
0
0
0
0
0
0
0
Leakiness Guide
Tight: Selection should be based off Tight-fitting doors that are structrually sound and have fully functional Weatherstriping and likely would not benefit from A.I. Efforts. |  |  |  |  | Medium: Selection should be based off a door that is structurally stable but may have minor alignment issues, small gaps, or weatherstripping that is present but not fully effective, allowing some air leakage. Would more than likely benefit from A.I. efforts. |  |  |  | Loose: Selection should be based off ill-fitted and has structrual problems, noticeable leakage sites, and no or non-functional weatherstripping. Will benefit from air sealing efforts or possible repair/replacement.
Additional Door Notes - Anything specific to ECM's and NEAT Audit Inputs

## Attics
UNFINISHED-Attic Info. (Attic Codes shall be with abbreviated identifying characteristics Ex. MA-main attic, LA-left attic, RA- right attic, FRP- flat roof portion, etc.)
Existing Attic Information- Unfinished Attic
Attic Code | Attic Types | Joist Spacing | Area (sq. ft.) | Roof Color | Existing. Insul. Type | Depth (in) | Existing R-Value | R-Value to Add | Add Insulation Type | Condition | Existing High Ventilation? | Existing Low Ventilation? | Vent Free Area Selection | Additional Cost(s)
FINISHED-Attic Info. (Attic Codes shall be with abbreviated identifying characteristics Ex. MA-main attic, LA-left attic, RA- right attic, FRP- flat roof portion, etc.)
Existing Attic Information- Finished Attic
Attic Code | Attic Area Type | Floor Type | Area (sq. ft.) | Roof Color | Existing. Insul. Type | Depth (in) | Existing R-Value | R-Value to Add | Add Insulation Type | Condition | Additional Cost(s)
Additional Attic Notes Note: Anything specific to ECM's and NEAT Audit Inputs

## Foundation
Foundation Codes should be labeled with short abbreviations like F1, F2, etc.
NEAT includes eight foundation types, each requiring specific information. Enter details based on the selected foundation type. • If the foundation type appears gray, no further selection is needed. • If yellow, choose the option that best applies, as they require the same information.
Foundation Code |  |  | Foundation Type |  | Conditioned
Floor Information Required- Conditioned
Area (sq. ft)
Sill Information Required- Conditioned
Floor Joist Size (in) | Perimeter (ft) | Existing Insulation R-Value |  | Added Insulation Type |  | Additional Cost ($)
Foundation Wall Information Required- Conditioned
Height (ft) | Height Exposed % | Perimeter (ft) |  | Existing Insulation R Value |  |  | Added Insulation Type | Additional Cost ($)
Foundation Code |  |  | Foundation Type
Floor Information Required-Non-Conditioned or Unintentionally Conditioned
Area (sq ft) | Existing Insulation R Value |  | Added Insulation Type |  | Additional Cost ($)
Sill Information Required- Non-Conditioned or Unintentionally Conditioned
Floor Joist Size (in) | Perimeter (ft) | Existing Insulation R-Value |  | Added Insulation Type |  | Additional Cost ($)
Foundation Wall Information Required- Non-Conditioned or Unintentionally Conditioned
Height (ft) | Height Exposed % | Perimeter (ft) |  | Existing Insulation R Value |  |  | Added Insulation Type | Additional Cost ($)
Foundation Code |  |  | Foundation Type |  | Vented Non-Conditioned
Floor Information Required Vented Non-Conditioned
Area (sq ft) | Existing Insulation R Value |  | Added Insulation Type |  | Additional Cost ($)
Sill Information Required- Non-Conditioned
Floor Joist Size (in) | Perimeter (ft) | Existing Insulation R-Value
Floor Information Required Vented Non-Conditioned
Height (ft) | Height Exposed % | Perimeter (ft) |  | Existing Insulation R Value
Foundation Code |  |  | Foundation Type
Floor Information Required Uninsulated Slab or Insulated Slab
Area (sq. ft)
Foundation Wall Required Uninsulated Slab or Insulated Slab
Perimeter (ft)
Foundation Code |  |  | Foundation Type
Floor Information Required Exposed Floor- With Sheating or Exposed Floor- No Sheating
Area (sq ft) | Existing Insulation R Value |  | Added Insulation Type |  | Additional Cost ($)
Sill Information Required Exposed Floor- With Sheating or Exposed Floor- No Sheating
Floor Joist Size (in)
Additional Floor Notes - Anything specific to ECM's and NEAT Audit Inputs

## Heating (1)
Heating Codes (Choose a code that fits Agency Ex. Htr. 1, Htr. 2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Fuel Type |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Flow Configuration |  | CO Reading |  | Serial Number # |  |  | Model #
Heating Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  | Gas Leak Present |  | Heat Rise Test |  |  |  | Heat Rise Results
[7 empty] | Supply Temp. |  | Return Temp.
Input Units |  | Efficiency | Efficiency Measurement | Output Capacity | Output Capacity Measurement | Steady State Efficiency |  |  | Existing HSPF |  | Ton(s)
Equipment Features
Fraction of Load Served |  | Atmospheric Burner |  | Automatic Vent Damper |  | IID | Pilot Light |  | On in Summer |  | Heating Setback Used
Existing Flue Type |  | Existing Flue Condition |  |  | Combustion System Type |  |  | Flue Diameter (in) |  | Combustion Air Intake
Blower Motor Type |  | Blower Condition |  |  | Air Filter Location |  |  | Filter Condition |  | Filter Size (length x width, in.)
Retrofit Options to Evaluate
Thermostat Type |  |  | Daytime Thermostat Setting (F) |  |  |  | Nighttime Thermostat Setting (F) |  |  |  | Relocate Thermostat
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Heating: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Heating Notes- Note: anything specific to ECM's and NEAT Audit Inputs
If more than one Heating systems exists, right click in the Heating tab and "Unide" additional Heating Sections.

## Heating (2) (hidden)
Heating Codes (Choose a code that fits Agency Ex. Htr. 1, Htr. 2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Fuel Type |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Flow Configuration |  | CO Reading |  | Serial Number # |  |  | Model #
Heating Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  | Gas Leak Present |  | Heat Rise Test |  |  |  | Heat Rise Results
[7 empty] | Supply Temp. |  | Return Temp.
Input Units |  | Efficiency | Efficiency Measurement | Output Capacity | Output Capacity Measurement | Steady State Efficiency |  |  | Existing HSPF |  | Ton(s)
Equipment Features
Fraction of Load Served |  | Atmospheric Burner |  | Automatic Vent Damper |  | IID | Pilot Light |  | On in Summer |  | Heating Setback Used
Existing Flue Type |  | Existing Flue Condition |  |  | Combustion System Type |  |  | Flue Diameter (in) |  | Combustion Air Intake
Blower Motor Type |  | Blower Condition |  |  | Air Filter Location |  |  | Filter Condition |  | Filter Size (length x width, in.)
Retrofit Options to Evaluate
Thermostat Type |  |  | Daytime Thermostat Setting (F) |  |  |  | Nighttime Thermostat Setting (F) |  |  |  | Relocate Thermostat
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Heating: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Heating Notes- Note: anything specific to ECM's and NEAT Audit Inputs

## Heating (3) (hidden)
Heating Codes (Choose a code that fits Agency Ex. Htr. 1, Htr. 2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Fuel Type |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Flow Configuration |  | CO Reading |  | Serial Number # |  |  | Model #
Heating Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  | Gas Leak Present |  | Heat Rise Test |  |  |  | Heat Rise Results
[7 empty] | Supply Temp. |  | Return Temp.
Input Units |  | Efficiency | Efficiency Measurement | Output Capacity | Output Capacity Measurement | Steady State Efficiency |  |  | Existing HSPF |  | Ton(s)
Equipment Features
Fraction of Load Served |  | Atmospheric Burner |  | Automatic Vent Damper |  | IID | Pilot Light |  | On in Summer |  | Heating Setback Used
Existing Flue Type |  | Existing Flue Condition |  |  | Combustion System Type |  |  | Flue Diameter (in) |  | Combustion Air Intake
Blower Motor Type |  | Blower Condition |  |  | Air Filter Location |  |  | Filter Condition |  | Filter Size (length x width, in.)
Retrofit Options to Evaluate
Thermostat Type |  |  | Daytime Thermostat Setting (F) |  |  |  | Nighttime Thermostat Setting (F) |  |  |  | Relocate Thermostat
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Heating: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Heating Notes- Note: anything specific to ECM's and NEAT Audit Inputs

## Heating (4) (hidden)
Heating Codes (Choose a code that fits Agency Ex. Htr. 1, Htr. 2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Fuel Type |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Flow Configuration |  | CO Reading |  | Serial Number # |  |  | Model #
Heating Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  | Gas Leak Present |  | Heat Rise Test |  |  |  | Heat Rise Results
[7 empty] | Supply Temp. |  | Return Temp.
Input Units |  | Efficiency | Efficiency Measurement | Output Capacity | Output Capacity Measurement | Steady State Efficiency |  |  | Existing HSPF |  | Ton(s)
Equipment Features
Fraction of Load Served |  | Atmospheric Burner |  | Automatic Vent Damper |  | IID | Pilot Light |  | On in Summer |  | Heating Setback Used
Existing Flue Type |  | Existing Flue Condition |  |  | Combustion System Type |  |  | Flue Diameter (in) |  | Combustion Air Intake
Blower Motor Type |  | Blower Condition |  |  | Air Filter Location |  |  | Filter Condition |  | Filter Size (length x width, in.)
Retrofit Options to Evaluate
Thermostat Type |  |  | Daytime Thermostat Setting (F) |  |  |  | Nighttime Thermostat Setting (F) |  |  |  | Relocate Thermostat
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Heating: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Heating Notes- Note: anything specific to ECM's and NEAT Audit Inputs

## Cooling (1)
Cooling Codes (Choose a code that fits Agency AC1, AC2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Condition |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Floor Area Cooled (Sq. Ft) |  |  |  | Serial Number # |  |  | Model #
Cooling Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  |  |  | Air Conditioner Coil Condition |  |  |  | Condenser Coil Condition
Amps (Actual Metering)- If applicable |  | Output Capacity |  | Output Type |  | Ton(s) |  |  | Existing SEER |  | Existing EER
Retrofit Options to Evaluate
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Cooling: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Cooling Notes- Note: Anything specific to ECM's and NEAT Audit Inputs
If more than one Cooling systems exists, right click in the Cooling tab and "Unide" additional Cooling Sections.

## Cooling (2) (hidden)
Cooling Codes (Choose a code that fits Agency AC1, AC2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Condition |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Floor Area Cooled (Sq. Ft) |  |  |  | Serial Number # |  |  | Model #
Cooling Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  |  |  | Air Conditioner Coil Condition |  |  |  | Condenser Coil Condition
Amps (Actual Metering)- If applicable |  | Output Capacity |  | Output Type |  | Ton(s) |  |  | Existing SEER |  | Existing EER
Retrofit Options to Evaluate
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Cooling: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Cooling Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Cooling (3) (hidden)
Cooling Codes (Choose a code that fits Agency AC1, AC2, Etc.)
Existing Equipment
HVAC System Code | Equipment Type |  |  |  | Condition |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Floor Area Cooled (Sq. Ft) |  |  |  | Serial Number # |  |  | Model #
Cooling Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  |  |  | Air Conditioner Coil Condition |  |  |  | Condenser Coil Condition
Amps (Actual Metering)- If applicable |  | Output Capacity |  | Output Type |  | Ton(s) |  |  | Existing SEER |  | Existing EER
Retrofit Options to Evaluate
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Cooling: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Cooling Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Cooling (4) (hidden)
Cooling Codes (Choose a code that fits Agency AC1, AC2, Etc.)
Existing Equipment - For more than (1) Cooling System - Right Click on the Cooling Tab and Unhide for more
HVAC System Code | Equipment Type |  |  |  | Condition |  | Equipment Location |  |  | Year Manufactured
Primary System | Secondary System |  | Floor Area Cooled (Sq. Ft) |  |  |  | Serial Number # |  |  | Model #
Cooling Performance
Maintenance Status |  | Recommend Further Diagnostic Testing |  |  |  |  | Air Conditioner Coil Condition |  |  |  | Condenser Coil Condition
Amps (Actual Metering)- If applicable |  | Output Capacity |  | Output Type |  | Ton(s) |  |  | Existing SEER |  | Existing EER
Retrofit Options to Evaluate
| Install Smart Thermostat |  |  |  | Required |  |  | Include In SIR
Heating Nighttime Setback (F) |  |  |  | Daily Setback Hours |  |  |  | Additional Cost ($)
| Tune Up |  |  |  | Required |  |  | Include In SIR
Efficiency Improvements (%) |  |  | Cooling: |  |  |  |  | Additional Cost ($)
| Replace the Equipment |  |  |  | Required |  |  | Include In SIR
Replacement Equipment |  |  |  | Efficiency: |  | Efficiency Measurement | Output Capacity: |  | Output Capacity Measurement | Material Cost ($) | Labor Cost ($) | Other Cost ($)
Additional Cooling Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Duct System (1)
Duct System Codes (Enter the Duct System applicable to the Existing Equipment)
Existing Duct Systems
Duct System Code | Duct Type |  | HVAC Systems Served |  | Duct Location |  |  | Duct Insulation | Duct Insulation R-Value
Existing Register Evaluation |  | # of Supply Registers |  | # of Return Registers |  |  | Condition of Plenum Joints
Add Insulation
Measure Number |  |  | Added R-Value |  |  | Additional Cost ($)
Duct Dimensions If measurements are known enter information here. (Group if share same dimensions) | [8 empty] | Use Defaults (Check Box if Utilizing Defaults)
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in)
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in) | Surface Area (sq ft)- Return
60
Surface Area (sq ft)- Supply
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in)
324
Insulation R-Value (Default)
7
Additional Baseload Notes- Note: Anything specific to ECM's and NEAT Audit Inputs
If more than one Duct System exists, right click in the Duct System tab and "Unide" additional Duct Sytem Section.

## Duct System (2) (hidden)
Duct System Codes (Enter the Duct System applicable to the Existing Equipment)
Existing Duct Systems
Duct System Code | Duct Type |  | HVAC Systems Served |  | Duct Location |  |  | Duct Insulation | Duct Insulation R-Value
Existing Register Evaluation |  | # of Supply Registers |  | # of Return Registers |  |  | Condition of Plenum Joints
Add Insulation
Measure Number |  |  | Added R-Value |  |  | Additional Cost ($)
Duct Dimensions If measurements are known enter information here. (Group if share same dimensions) | [8 empty] | Use Defaults (Check Box if Utilizing Defaults)
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in)
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in) | Surface Area (sq ft)- Return
60
Surface Area (sq ft)- Supply
Duct Section | Shape of Ducts |  | Length (ft) | Width (in) |  | Height (in) |  | Diameter (in)
324
Insulation R-Value (Default)
7
Additional Baseload Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Ducts and Infiltration
Ducts and Infiltration
Whole House Blower Door Measurements | [5 empty] | Costs
Date Tests Conducted | Air Leakage Rate (CFM) - Before Weatherization |  | Building Pressure Differential (Pa) |  | Target Leakage Rate - After Weatherization | Infilration Reduction ($) |  |  | Duct Sealing ($)
Duct Blower Measurements
Evaluate Duct Sealing | Duct Leakage Method |  | Before Duct Sealing- Existing- Total (CFM) @25 (Pa) |  |  | Before Duct Sealing- Existing - Outside (CFM) @25 (Pa)
Duct Blower Measurements
*'Outside' readings are taken while the house to outdoor presure difference provided by a blower door is maintained at the same level as the duct to outdoor pressure difference created by the duct blower. Thus, the 'Duct Pressure' and the 'House Pressure With Respect To Outside' should be equal. |  |  | After Duct Sealing- Target or Actual- Total (CFM) @25 (Pa) |  |  | After Duct Sealing- Target or Actual- Outside(CFM) @25 (Pa)
Duct Operating Pressures
Before Duct Sealing |  |  | After Duct Sealing
Supply (Pa) |  |  | Supply (Pa)
Return (Pa) |  |  | Return (Pa)
Zone Pressure Diagnostics (ZPD's)
Location |  | Pressure (Pa) |  | Location |  | Pressure (Pa)
Location |  | Pressure (Pa) |  | Location |  | Pressure (Pa)
Location |  | Pressure (Pa) |  | Location |  | Pressure (Pa)
Air Infiltration/Duct System Notes (Area of Focus)
Air Infiltration Measure(s)- Location/Description
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
[7 empty] | Total ($) | 0
Duct Sealing Measure(s)- Location/Description
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
Cost ($)
[7 empty] | Total ($) | 0

## Baseloads
Baseloads
Water Heating- Existing Equipment (#1)
Manufacturer |  | Model Number |  | Serial Number |  | Manufacture Year |  | Fuel Type
Equipment Type |  | Location |  | Condition of Water Heater |  |  | Rated Storage Capacity (gal)
Input Units | Rated Input |  | Output Rating | Energy Factor | Uniform Energy Factor |  | First-Hour Rating (gal) |  | Recovery Efficiency
Combustion Water Heating Testing Results (#1)
CO Reading at Initial Inspection |  | Draft Test Results |  | Spillage Test Results |  | HWH Temp at Initial Inspection |  |  | Note: Adjust Temp if >120 (F)
Existing Insulation Levels - Water Heating Equipment (#1)
Water Heater Wrap Present |  |  | Water Heater Pipe Insulation Present |  | Existing Tank R-Value |  | Existing Tank Thickness (in) |  | Existing Insulation Type
Water Heating- Existing Equipment (#2)
Manufacturer |  | Model Number |  | Serial Number |  | Manufacture Year |  | Fuel Type
Equipment Type |  | Location |  | Condition of Water Heater |  |  | Rated Storage Capacity (gal)
Input Units | Rated Input |  | Output Rating | Energy Factor | Uniform Energy Factor |  | First-Hour Rating (gal) |  | Recovery Efficiency
Combustion Water Heating Testing Results (#2)
CO Reading at Initial Inspection |  | Draft Test Results |  | HWH Testing Efficiency |  | HWH Temp at Initial Inspection |  |  | Note: Adjust Temp if >120 (F)
Existing Insulation Levels - Water Heating Equipment (#2)
Water Heater Wrap Present |  |  | Water Heater Pipe Insulation Present |  | Existing Tank R-Value |  | Existing Tank Thickness (in) |  | Existing Insulation Type
Low Flow Showerhead/Aerators
Existing Showerheads |  |  |  | Existing Aerators
Number of Showerheads Present | Flow Rate (gpm) |  | Shower Use (min/day) | Number of Aerators Present |  | Flow Rate (gpm) |  | Minutes each/per day
Number of Showerheads Present | Flow Rate (gpm) |  | Shower Use (min/day) | Number of Aerators Present |  | Flow Rate (gpm) |  | Minutes each/per day
Number of Showerheads Present | Flow Rate (gpm) |  | Shower Use (min/day) | Number of Aerators Present |  | Flow Rate (gpm) |  | Minutes each/per day
Refrigerators
Existing Equipment
Manufacturer |  |  | Model Number |  | Serial Number |  |  | Manufacture Date
Defrost Option |  | Location |  | Door Seal Condition | Metering Minutes |  | Meter Reading (kWh) |  | Size (cu ft)
Lighting (LED) 's
Lighting Code: 40 watt Eq. (9watt) |  | Type |  | Quantity | Usage (hr/day) |  | Location
Lighting Code: 60 watt Eq. (13watt) |  | Type |  | Quantity | Usage (hr/day) |  | Location
Lighting Code: 75 watt Eq. (19watt) |  | Type |  | Quantity | Usage (hr/day) |  | Location
Lighting Code: 100 watt Eq. (23watt) |  | Type |  | Quantity | Usage (hr/day) |  | Location
Additional Baseload Notes- Note: Anything specific to ECM's and NEAT Audit Inputs

## Health & Safety
Health & Safety
Health and Safety Devices
Smoke Detector is Needed |  | Location |  |  | Quantity
Smoke Detector is Needed |  | Location |  |  | Quantity
Smoke Detector is Needed |  | Location |  |  | Quantity
All Existing Smoke Detectors are Operable
(Select Check Box, if Dwelling unit has operable smoke detectors in the correct locations)
Carbon Monoxide (CO) Monitor is Needed |  | Location |  |  | Quantity
Carbon Monoxide (CO) Monitor is Needed |  | Location |  |  | Quantity
All Existing CO Detectors are Operable
(Select Check Box, if Dwelling unit has operable CO Detectors in the correct locations)
CAZ Isolation Details
Combustion Appliance Location | Acceptable Combustion Air? |  | Build Combustion Closet for CAZ? |  | Combustion Air Vent Pipe Size Needed |  |  | Vent Pipe Considerations
[8 empty] | Total BTU Input | Recommended Duct Size (Round)
Combustion Safety Key Measurements to Consider | [7 empty] | Up to 50,000 BTU's | 6"
✅ Spillage Test – Check if combustion gases escape into the home instead of venting properly. | [7 empty] | 50,001-100,000 BTU's | 8"
✅ Draft Pressure Test – Measure draft pressure (Pa) to ensure proper exhaust flow. | [7 empty] | 100,001-200,000 BTU's | 10"
✅ CO (Carbon Monoxide) Testing – Measure CO levels in the flue and ambient air. | [7 empty] | ✅ Verify using NFPA 54, Table 9.3.1.2 (Combustion Air Sizing)
✅ Worst-Case Depressurization Test – Assess if exhaust fans or air pressure changes cause backdrafting. | [7 empty] | ✅ Consider room size (confined vs. unconfined space)
✅ Excessive Flame Rollout – Check for flames escaping from the burner area. | [7 empty] | ✅ Ensure duct length, restrictions, and louvers are accounted for
Cook Stove Details
Oven Fuel Type | Oven Measurement | Beyond Cleaning Repair? |  | Recommend Replacement? | Range Top Burner Measurements
[5 empty] | Center | RF | LF | RR | LR
Source Control & Moisture Prevention - (Use Checkboxes to Confirm Visual Inspection Completion)
Roof/Crawlspace/Windows & Doors/ Drainage System |  | Action Needed? |  | General Asbestos Inspection |  | Action Needed? |  | Wood Stove/Fireplace
Inspected Roof for Leaks, missing/damaged Shingles, Weak Spots, etc.) |  |  |  | Conducted Visial Inspection for materials suspected to contain Asbestos (e.g., Insulation, walls, pipes, roof, etc. |  |  |  | Wood Stove Present?
Evaluated Gutters for Clogging, disrepair, or improper slope | [7 empty] | Proper Floor Protection, and code compliace clearances to walls
Checked for Proper downspounts and extensions to direct water away from home |  |  |  | General Plumbing Inspection |  | Action Needed?
|  |  |  | Conducted Visual inspection for any exposed plumbing areas for active leaks. |  |  |  | Fireplace Passess Inspection
Verified presence & function of flashing around roof penetrations
Fireplace Condition
Looked for evidence of standing water. |  |  |  | General Electrical Inspection |  | Action Needed?
|  |  |  | Visual Inspection for Presence and condtion of Knob-and-Tube wiring |  |  |  | Fireplace Operational and In-use by HH.
Evaluated windows for condensation issues around windows/doors
Lead Paint Inspection
Checked for bulk water intrustion evidence around windows/doors |  |  |  | Verified proper grounding and bonding of electrical system. |  |  |  | Suspected Lead Paint Present?
Estimated H&S Measures
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Measure/Description | [5 empty] | Cost($)
Health & Safety Notes - Anything specific to ECM's and NEAT Audit Inputs

## Repairs
Repairs Measures to Consider
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Measure/Description | Cost ($) | Include SIR | Annual Energy Savings | Units: | Life (yr): | Fuel Saved:
Repair Notes- Anything specific to ECM's and NEAT Audit Inputs