|  |  | TDHCA Development Inspection Checklist |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CMTS # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | I. Accessible Dwelling Units |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Accessibility Standard:  |  |  |  | Mobility Units ADA UFAS FHA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Standard: |  |  |  |  |  | FHA S&H |  |  |  |  |  | FHA Visit |  |  |  |  |
| Unit Type: (bedrm/bathrm 1/1, 2/1, 2/2, etc.)  |  |  |  | / |  |  |  |  |  | / |  |  |  |  |  | / |  |  |  |  |  | / |  |  |  |  |  | / |  |  |  |  |  | / |  |  |  |  |
| Unit ID Number  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Pictures show context, ‘No’ items & measurements |  |  |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |
| Sight & Hearing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 809.5.5.1 | (I-1) Doorbell is hard-wired w/ button at front door for audible/visible signal in unit; any visible signal in a sleeping area has a de-activation control. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 809.5.5.2 | (I-2) Visitor identification front door device or window allows 180o view. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 809.5.2, 809.5.3 UFAS 4.28.4 | (I-3) Strobe alarm visual/audible in access. sleeping rooms; strobe & any building fire alarm act together. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Route Connections |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 809.2.1 | (I-4) Access. spaces Route connects primary entry w/ all spaces/elements, excl mech. space, incl balcony, patio, carport, garage, min 1 ea type provided element/storage. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UFAS 4.34.2(15) | (I-5) Access. spaces Route connects primary entry w/ kitchen, living, dining, 1 full access. bath, sleeping rms (min 2 if multiple), patio, balcony, carport, garage, min 1 ea type of provided storage. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 3.3, 4.3 | (I-6) Access. spaces Route connects primary entry w/ all spaces in covered units incl storage, patios, balconies. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TDHCA/FHAG (a) pre-2018 10.101(b((8) | (I-7) Visitability No-step site-to-entry level of 20% of new townh. and 1/2/3-plexes have bedrm & full or ½ bath. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Accessible Route |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 403 UFAS 4.3.3 FHA 4.4 | (I-8) Clear width. Accessible route is >36W; any reduced-width point is >32Wx<24L. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 304.3, 809.2.2 UFAS 4.2.3 | (I-9) Turning space All access. spaces w/out pass-through (incl powder rm/ADA) have >60 dia. or T-turn (base of T >36Wx>24D, arms of T >36Wx>12D; turning space may extend under counter 1 side only (not required in exterior spaces 30” maximum in depth / ADA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 305.7 UFAS 4.2.4.2 | (I-10) Alcoves Entrance & interior are >36W if space is >24D and front-only appr is poss; entrance/interior are >60W if space is >15D and side-only appr is poss. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 306 UFAS 4.34.6.4, 4.34.6.5, 4.32.3 | (I-11) Knee & toe Any required CFS beneath or adjacent to element >30W (>36W if part of a T-turn), open/remov. cab. w/ walls & floor finished, min clear depth at knee is 8D at 27H; at ankle is 11D at 9H; at toe is 17D. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 303 UFAS 4.3.8 FHA 4.4 | (I-12) Level change from ¼ to ½” has a beveled edge, >½” is ramped <8.33% (N/A shower curb height/FHA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 302.2 UFAS 4.5.3 | (I-13) Surface is firm/stable/slip resistant; carpet pile <½” measured to firm backing/pad, floor, edge fastened down. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item # measurement comment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Unit ID Number  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pictures show context, ‘No’ items & measurements |  |  |  |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |
| Doors & Doorways (passage doors on accessible route) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 404.2.5 | (I-14) Threshold height (plus any floor level change) is <½” (¾” rehab) from the top to interior/exterior floor/landing, and has a beveled edge (1:2) at any step in level over ¼”. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UFAS 4.34.2(6) | (I-15) Threshold height (plus any floor level change) is <½” (¾” rehab) and <¾” for sliding door from the top to interior/exterior floor/landing, and has a beveled edge (1:2) at any step in level over ¼”. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 3.10 4.12 | (I-16) Threshold height (plus any floor level change) <¾” at front/back door to interior floor, <1¼” front door to exterior landing; <¾” back door to wood deck; <4¾” back door to concrete landing; has a beveled edge (1:2) at any step over ¼”. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 206.5.4, 404.2.9 UFAS 4.34.2(6) | (I-17) Clear opening >32W (313/8W for rehab OK) door face to stop open 90°. 5 pounds force max for opening. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 3.3, 3.5 | (I-18) Clear opening at primary entry is >32W measured from door face to door stop open 90°; >315/8W at secondary entry & passage doors. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 404.2.4, 809.2 UFAS 4.34.2(6) | (I-19) Maneuvering space Clear/level (<2% slope) both sides of entry/passage doors within required CFS per appr condition: (a) front appr/pull >18W beyond latch, (b) latch or hinge appr/push 42W hall, (c) latch appr/pull 48W hall (d) hinge appr/pull 54W hall w/ 42W beyond latch. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 3.10 | (I-20) Maneuvering space On exterior side of primary entry is clear/level per approach condition (<1% slope). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reach Ranges & Operating Mechanisms |  | Obstructed forward | <48H reach w/ <20D obstr Or <44H reach w/ 20-25D obstr (w/ <25½D obstr/FHA) (e.g. Outlet above wall lav 48H, above work surface 44H/ADA/UFAS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Unobstructed forward | 15-48H reach (e.g. Walk-in closet clothes rod 48H, bottom shelf 15H/ADA/UFAS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Obstructed side | <46H reach w/ <34Hx10-24D obstr (w/ <36Hx25½D obstr/FHA) (e.g. Outlet above a low counter 46H/ADA/UFAS, high counter 46H/FHA) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Unobstructed side | (15-48H reach/ADA/FHA) (9-54H reach/UFAS) w/ <10Dx<34H obstruction (e.g. Bottom shelf of upper cabinet above low counter 48H/ADA, 54H/UFAS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 205, 308-309 UFAS 4.2, 4.27 FHA 3.3, 5.5 | (I-21) Operable parts Dispensers, door/cabinet/faucet handles (incl unit entry/FHA) (no push-type, thumb-latch, sliding door hardware exposed & usable both sides/ADA) require 1 hand, no tight grasping, pinching, twisting wrist; on an access. route; in reach range. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 205, 308-309 UFAS 4.2.5-6 FHA 5.5 | (I-22) Switches & outlets (1 per area/UFAS/FHA; incl breakers/ADA/UFAS) (excl locked breakers, redundant, staff-only, dedicated use/ADA; breakers, dedicated/FHA), on accessible route; in reach range (incl access. outlet above corner cabinet >36” from corner/FHA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 225.2 UFAS 4.25 | (I-23) Storage Min 1 of each storage type provided is on accessible route; in reach range (e.g. closet clothes rod, cabinet shelf, drawer). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item # measurement comment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Unit ID Number  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pictures show context, ‘No’ items & measurements |  |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |
| Kitchens |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 804.2.1 UFAS 4.34.6 FHA 7.7 | (I-24) Pass through (entry at both ends) >40W between opposing surfaces excl handles (N/A if no cooktop or range, e.g. some SROs/ADA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 804.2.2 | (I-25) Non-pass through (entry at 1 end) >60W between opposing surfaces excl handles (N/A if no cooktop or range, e.g. some SROs/ADA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UFAS 4.34.6.1 | (I-26) Non-pass through is >60W if appliance, sink, or work surface is at base of U, or >40W w/ turn-around if no appliance, sink, wk surface at base of U (see Turning Space above). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 7.9, 7.11 | (I-27) Non-pass through >60” turning circle if any range or sink minus dishwasher is at base of U; >64” circle if sink plus dishwasher is at base of U; >40W between opposite surfaces if no sink or range is at base; >40W if any cooktop or sink (+ dishwasher) at base has a >30W open/removable base cabinet. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 7.4, 7.6 | (I-28) Appliance CFS positioned for centered side appr at range, sinks & cooktops w/no knee space; centered side/centered front appr at microwave, refrigerator, dishwasher, oven (centerline is >24”/side, 15”/front from any obstruction, e.g. 90° or 45° inside corner or wall); corner frig w/ door opening <90° has 30x48 CFS for centered front appr. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 611.2 UFAS 4.34.7 | (I-29) Washer/dryer Owner-provided W/D CFS is positioned for side appr (e.g. laundry alcove w/ opposite-facing machines, or side-by-side) (see Turning Space and Alcoves above, N/A if no W/D). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 804.3, 804.6.5 UFAS 4.34.6.4 | (I-30) Work counter is <34Hx>30W w/ >30W open/remov. cab. (see Knee & Toe above); 30x48 CFS positioned for centered front appr (located next to bottom-hinged oven/ADA) (located next to oven if not self-cleaning/UFAS). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 606, 804.6.3 UFAS 4.34.6.5 | (I-31) Sink is <34Hx>30W w/ >30W open/remov. cab. (see Knee & Toe above); 30x48 CFS positioned for centered front appr (w/no overlapping dishwasher door/ADA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 606.4,5 UFAS 4.34.6.5 | (I-32) Pipe wrap Exposed pipes insulated/otherwise protected and no sharp/abrasive surfaces under sink. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 804.5 | (I-33) Kitchen storage provides 50% (linear feet) at 15–48H (incl shelving, drawers, bottom shelf of upper cabinet above a <34H counter, excl countertop) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 804.6.4 UFAS 4.34.6.6-7 | (I-34) Range controls require no reach across burners. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 804.6.6 UFAS 4.34.6.8 | (I-35) Refrigerator/freezer has >50% of the freezer space <54H. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item # measurement comment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| FHA A & B Bathrm | A Bathroom Specifications (illustration #1, 2) 1 Any tub has either a 30x60 side appr CFS (wall-lav overlap OK), or 48x60 front appr CFS (toilet, vanity, or <24D wing wall overlap OK) 2 Any lavs/vanities have centered 30x48 CFS for side or front appr, and <36H/side appr, or <34H/front-only appr w/ open/remov base cabinet |  |  |  |  |  |  |  | B Bathroom Specifications (illustration #3, 5, 6) 3 Any tub 30x48 side appr CFS at control wall (foot end) 4 Any 36x36 shower has seat blkg if the only bathing fixture or the only one on the accessible level of a 2- story unit (e.g. T-house or SF i.e. Visitable Unit Rule) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 5 Any overlapping wall-hung or countertop lav in tub CFS is on tub control wall, 17-19D, <34H, centered front appr w/ open/remov cab 6 Bathrm has at least 1 lav or van >17D and <34H, centered side or front appr w/ open/remov cab |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| B Bathroom Specifications Applies to 1 bathroom, lav and bathing fixture if multiple bathrooms (I-38 below) |  | Step 1 See specs #3–7 above to determine if a Specification B bathroom is provided - If no toilet in tub CFS & fixtures meet all B specs (above) check N/A for item I-37 (below), and Yes for I-38 and Stop - If all fixtures do not meet B specs list any deficiency by spec # for I-38, go to Step 2 Step 2 - If fixtures & bathrooms meet specs #1–2 check Yes for item I-37, and N/A for I-38 - If not, identify any deficiency by spec # (above) for item I-37, and N/A for I-38 |  | #3 Bathtub – No Overlap Side approach to the bathtub is possible (no overlapping toilet – lav OK, see next) |  |  |  |  |  |  |  |  |  |  |  |  | #5 Bathtub – Small Lav Overlap Any lav overlapping tub CFS is positioned for centered front appr 17-19D, <34H |  |  |  |  |  |  |  |  |  |  |  |  | #6 Lavatory Bathroom has a lav or vanity, >17D, <34H (side-only appr OK if not overlapping tub) |  |  |  |  |  |  |  |  |  |  |
| A Bathroom Specifications Applies to all provided fixtures in all bathrooms (I-37 below) |  | #1 Bathtub – Standard Size Lav Overlap Smaller CFS for tub if side appr is possible (typical 21D lav w/ front or side appr OK) |  | #1 Bathtub – Toilet or Vanity Overlap Larger CFS for tub if front-only appr poss. (overlapping toilet, <24D wing wall OK) |  |  |  |  |  |  |  |  |  |  |  |  | #2 Lavatory – Centered CFS / Side Lavs, vanities w/ centered side, front appr (front-only if centered side not possible) |  |  |  |  |  |  |  |  |  |  |  |  | or #2 Lavatory – Centered CFS / Front Centered CFS for any lav/vanity is >24” to obstruction for side or >15” for front appr |  |  |  |  |  |  |  |  |  |  |
| Unit ID Number  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TOP ROW Boxes–Hall Bath / BOTTOM ROW–Master |  |  |  | Yes |  | No # |  | N/A |  |  | Yes |  | No # |  | N/A |  | Yes |  | No # |  | N/A |  | Yes |  | No # |  |  | N/A |  | Yes |  | No # |  | N/A |  | Yes |  | No # |  | N/A |
| FHA 7.34, 7.39, 7.52-.53, 7.55-59 | (I-36) Spec A Check ‘Yes’ if all bathroom fixtures meet specs #1-2 (above); Or list any deficiency by its spec # in the ‘No’ column (incl actual measurements & comments); Or check ‘N/A’ for all bathrooms if any 1 bathroom in the unit meets all Spec B requirements listed above. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 7.34, 7.39, 7.52-.53, 7.55-59 | (I-37) Spec B Check ‘Yes’ if any bathrm meets specs #3-7 above & check ‘N/A’ or ‘Yes’ for 2nd bathrm; Or check ‘N/A’ if all bathrms & fixtures meet Spec A; Or, if all bathrms do not meet Spec A, and no Spec B bathrm, list any deficiency by its spec # w/ comment in ‘No’ column. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item # measurement comment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Unit ID Number  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pictures show context, ‘No’ items & measurements |  |  |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |
| Bathrooms & Powder Rms |  | Min 1 full bathrm fully access./ADA/UFAS All Spec A, Spec B bathrms fully access./FHA Non-B (ie. other bathrms where 1 meets Spec B) exempt from maneuvering & fixture CFS/FHA Powder rooms are exempt from maneuvering & fixture CFS and GB blkg/FHA unless it is the only toilet on the accessible level of 2-story unit (e.g. T-house or S.F./TDHA 20% Rule) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 603.2.3 UFAS 4.34.5.1 | (I-38) Door swing Arc of passage door swing does not obstruct any fixture CFS (N/A if 30x48 CFS is outside of arc/ADA, see Maneuvering below). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 7.39 | (I-39) Maneuvering 30x48 clearance is provided in bathrm to position a wheelchair beyond the swing of bathrm door (N/A in powder room & non-B bathrm). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 609.3-4 UFAS 4.34.5, 4.26 | (I-40) Fixture GB (if any) specified for fixtures are horizontal, 33–36H (excl lower tub GB), 1½” to wall (>1½” to obstructions; >12” for objects above GB e.g. valve, soap dish, spray unit bar, other non-specified GB). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 306, 606 UFAS 4.19.2 | (I-41) Accessible lavatory Min 1 lav is <34H at the rim or counter (17-25D/ADA) (>17D/UFAS) (17-25½/FHA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 606 UFAS 4.19.2 | (I-42) Accessible lavatory CFS is 30x48 positioned for front appr; open or remov base cab (Knee & Toe above). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 606.4,5 UFAS 4.34.6.5 | (I-43) Pipes Exposed pipes insulated/otherwise protected; no sharp or abrasive surfaces under access. lavatory. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 603.3 UFAS 4.34.5.3 | (I-44) Mirror height above lav or countertop has bottom edge of reflecting surface <40H (<35H if not above lav or countertop/ADA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 604.3 | (I-45) Toilet CFS 60Wx56D if no overlap, or 60Wx66D w/ lav/van overlap, >18 to lav/van edge; open/remov base |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UFAS 4.34.5.2 | (I-46) Toilet CFS If both front/side appr poss, either >48Wx66D (lav overlap OK) or >60Wx56D (no overlap); side appr only >48Wx56D (lav overlap OK); >18 from toilet centerline to lav/van edge; open/remov cabinet. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 7.43 | (I-47) Toilet CFS If front/side appr poss, either >48Wx66D (>33W if <24D overlap) or >60Wx56D (no overlap); if only a side appr poss >48Wx56D (>33W if <24D overlap) (N/A powder, non-B bthrm). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 604.2, 604.6 UFAS 4.34.5 | (I-48) Toilet placement is adjacent to >54L sidewall, centerline (16–18”/ADA) (18”/UFAS) from corner (flush control located on open side of toilet/ADA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHAG 7(2)(b)(iv) | (I-49) Toilet placement Centerline is >18” from any obstruction on one side (GB blkg side) and >15” from any obstruction on the other side. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 604.5 UFAS 4.34.5.2 | (I-50) Toilet GB Sidewall <12” to >54” from corner; rear GB >12” one side, >24” other side of toilet center (centered >24” GB OK if adjacent lav is recessed in rear wall/ADA) (N/A if no GB). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 604.7 | (I-51) TP dispenser 7-9” from TP centerline to front of toilet; 15-48H; if surface-mounted >1½” below GB; continuous flow (N/A if no dispenser). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item # measurement comment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Unit ID Number  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pictures show context, ‘No’ items & measurements |  |  |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes |  | No |  | N/A |  | Yes | No |  | N/A |  |  |  |  |
| ADA 607, 8.6 UFAS 4.34.5 |  | (I-52) Spray unit for both hand-held and fixed use (at various heights for showers/UFAS) >59” hose. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 607.5 UFAS 4.34.5.4 |  | (I-53) Bathtub controls on end wall, below any GB, entry side of tub center (see Operating Mechanisms). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 607.2 |  | (I-54) Bathtub CFS >30W by tub length (60L typ.); if a built-in seat-shelf is at the head end of the tub CFS extends 12” beyond end wall (87L typ.); lav overlap OK control end of tub (see Accessible Lavatory above) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| UFAS 4.34.5.4 |  | (I-55) Bathtub CFS >30x60 if side appr poss.; >48Wx60L if front-only poss. (75L if seat-shelf); lav overlap OK at control end (Accessible Lavatory above). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 607.3 UFAS 4.34.5.4 |  | (I-56) Bathtub seat is provided (17–19H/ADA), either a permanent built-in shelf-seat at the head-end of tub (>15D) or a secure, removable in-tub seat (15–16D/ADA) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 607.4.1-.2 UFAS 4.34.5.4 |  | (I-57) Bathtub GB (if installed) 2 GBs back wall w/ bottom GB above rim 8–10”/ADA, 9”/UFAS; top & bottom <12” from control wall & <24” from head wall (<15” if seat-shelf); end wall GBs line w/ tub edge, >24L at control wall, >12L at head wall (N/A if no GBs). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.2.1 UFAS 4.34.5.5 |  | (I-58) Transfer size/CFS Stall is 36x36, entry 36W, 36x48 CFS for side appr flush at control wall. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FHA 7.56-58 |  | (I-59) Transfer size/CFS Any size stall (>36x36 if only bathing fixture); >36W entry (>32W if door); 30x48 CFS side appr flush control wall (N/A non-B). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.7 |  | (I-60) Transfer threshold <½”H (bevel N/A), <2”H if infeasible rehab. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.5.1 UFAS 4.34.5.5 |  | (I-61) Transfer controls on side wall opposite seat, 38–48H, on entry-side of shower centerline. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.4, 610.3 UFAS 4.34.5 |  | (I-62) Transfer seat is 17-19H (optional w/ blkg/ADA); opposite control wall; 3” max. from compt. entry to seat, 2.5’ max. from seat wall to seat and 1.5” max from back wall to seat (N/A if no seat). (N/A if no seat/ADA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.3.1 UFAS 4.34.5.5 |  | (I-63) Transfer GB (if any) full length control wall; back wall GB extends to 18” from the control wall (N/A if no GB). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.2.2 UFAS 4.34.5.5 |  | (I-64) Roll-in size/CFS Stall is >30x60, CFS is (30x60/ADA) (36x60/UFAS); lav overlap OK (see Accessible Lav above) (no lav at control, seat end/ADA). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.7 UFAS 4.3.8 |  | (I-65) Roll-in threshold is <½”H, has beveled edge at any abrupt change in level over ¼”. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.5.2 |  | (I-66) Roll-in controls/spray Any wall if no seat; back wall <27” from seat end wall; from above GB to <48H. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 610.3 |  | (I-67) Roll-in seat (if any) 17-19H, folding, on end wall next to controls on back wall; 3” max. from compt. entry to seat, 2.5’ max. from seat wall to seat and 1.5” max from back wall to seat (N/A if no seat). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ADA 608.3.2 UFAS 4.34.5.5 |  | (I-68) Roll-in GB (if any) 1 bar all sides, or 3 bars <6” from corners, no bar above any fixed seat & stops in line w/ seat edge/ADA) (N/A if no GB). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Item # measurement comment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |